## Slide 1: Fetal Heart Rate Processing

## Slide 2: Ultrasound Project Goals
Characterize and quantify fetal behavioral response to maternal voice and other auditory stimuli
Determine differences in behavioral response between infants who develop ASD, high-risk infants who do not develop ASD, and controls
To relate differences in fetal behavior to differences in postnatal behavior

## Slide 3: Fetal HR Indicates Behavior
Heart rate patterns help define the 4 behavioral states in mid-late term fetuses
  Levels of activity and wakefulness
HR Accelerations - Startle response
HR Decelerations - Orienting response
  Indicates attention→ fetus can distinguish between and prefer certain stimuli
FHR variability (beat-to-beat variation) as another measure of behavior and well-being

## Slide 4: FHR Measurement
Typically measured by Cardiotograph (CTG) using Doppler ultrasound
  Detects movement via Doppler effect
TOITU Actocardigram measures raw heartbeat signal and somehow converts to a heart rate tracing
How to reliably convert raw heartbeat signal into the heart rate?

## Slide 5: FHR Signal
Clean region
Region with interference

## Slide 6: FHR Spectral Analysis
Fourier transform vs. Chirp z transform (czt)

## Slide 7: CZT Spectrogram
Spectrums of overlapping windows of fixed length (2.5 sec)
  Window parameters affect resolution & accuracy
Missing heart rate fundamental frequency (around 2-3 Hz ~ 120-180 bpm)
Periodic harmonic bands

## Slide 8: HR Spectrogram
Spectrum of the spectrum gives frequency of harmonic bands
HR = 60*freqfund = 60*λharm = 60/freqharm

## Slide 9: Peak Picking, Outlier Removal, & Spline Fitting

## Slide 10: Filtering FHR

## Slide 11: Maternal Voice

## Slide 12: Back to Heart Beats

## Slide 13: Next Steps
Making FHR baseline and FHR variability extraction real-time
Look for quantitative differences in HRV and startle/orienting responses over entire dataset
Improve spectral accuracy with multi-taper analysis
Quantifying error and comparing with other FHR extraction techniques